## Sheet1
| pressure dial reading | pressure reading on scale | arc current | amps per sq mm | arc volts | volts per cm | voltsAcrossCurrentResistor | Arc Resstance= volts/amps | resistance per cm | 1/ohms=conductance | Watts = v*i | watts/cm.=:watts/7 | 1/ohms=conductance | light | efficiency= light/watts | efficiency per cm | pres/watts/cm
run #1 | 0.1 | 1.1 | 0.005 | 0.0063694 | 1100 | 157.1429 | 50 | 220000 | 31428.5714 | 3.1818e-05 | 5.5 | 0.78571 | 3.1818e-05 | 0.391 | 0.071091 | 0.49764 | 39
1 by 70 mm | 0.1 | 1.1 | 0.0058 | 0.0073885 | 1200 | 171.4286 | 58 | 206896.5517 | 29556.6502 | 3.3833e-05 | 6.96 | 0.99429 | 3.3833e-05 | 0.3009 | 0.043233 | 0.30263 | 40
air | 0.1 | 1.1 | 0.007 | 0.0089172 | 950 | 135.7143 | 70 | 135714.2857 | 19387.7551 | 5.1579e-05 | 6.65 | 0.95 | 5.1579e-05 | 1.06 | 0.1594 | 1.1158 | 73
fixed pressure | 0.1 | 1.1 | 0.007 | 0.0089172 | 1000 | 142.8571 | 70 | 142857.1429 | 20408.1633 | 4.9e-05 | 7 | 1 | 4.9e-05 | 0.67 | 0.095714 | 0.67 | 58
volts versus amps | 0.1 | 1.1 | 0.009 | 0.011465 | 910 | 130 | 90 | 101111.1111 | 14444.4444 | 6.9231e-05 | 8.19 | 1.17 | 6.9231e-05 | 1.38 | 0.1685 | 1.1795 | 96
new shunt resistor | 0.1 | 1.1 | 0.01 | 0.012739 | 900 | 128.5714 | 100 | 90000 | 12857.1429 | 7.7778e-05 | 9 | 1.2857 | 7.7778e-05 | 1.44 | 0.16 | 1.12 | 120
same value | 0.1 | 1.1 | 0.012 | 0.015287 | 900 | 128.5714 | 120 | 75000 | 10714.2857 | 9.3333e-05 | 10.8 | 1.5429 | 9.3333e-05 | 1.85 | 0.1713 | 1.1991 | 125
| 0.1 | 1.1 | 0.014 | 0.017834 | 900 | 128.5714 | 140 | 64285.7143 | 9183.6735 | 0.00010889 | 12.6 | 1.8 | 0.00010889 | 2.13 | 0.16905 | 1.1833 | 140
end run #1 | 0.1 | 1.1 | 0.014 | 0.017834 | 910 | 130 | 140 | 65000 | 9285.7143 | 0.00010769 | 12.74 | 1.82 | 0.00010769 | 2.12 | 0.16641 | 1.1648 | 140
run 2 | 20 | 20 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 1.65 | x | #VALUE! | 120
1 by 70 mm | 18 | 18 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 1.86 | x | #VALUE! | 129
constant current | 15 | 15 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 2.118 | x | #VALUE! | 131
variable pressure | 13 | 13 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 2.009 | x | #VALUE! | 129
some data was | 11 | 11 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 2.175 | x | #VALUE! | 129
fouled up read | 9 | 9 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 2.333 | x | #VALUE! | 130
volt wrong | 7 | 7 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 2.8 | x | #VALUE!
| 5 | 5 | 0.012 |  | x | #VALUE! | x | x |  |  | x | #VALUE! |  | 2.8 | x | #VALUE! | 135
| 3 | 3 | 0.012 |  | 1100 | 157.1429 | 120 | 91666.6667 |  |  | 13.2 | 1.8857 |  | 2.63 | 0.19924 | 1.3947 | 140
end run 2 | 1 | 1 | 0.012 |  | 900 | 128.5714 | 120 | 75000 |  |  | 10.8 | 1.5429 |  | 2.38 | 0.22037 | 1.5426 | 140
run3 | 18 | 19 | 0.012 |  | 2300 | 328.5714 | 120 | 191666.6667 | 27380.9524 |  | 27.6 | 3.9429 |  | 1.72 | 0.062319 | 0.43623 | 130
air 1 by 70 mm | 16 | 17 | 0.012 |  | 2000 | 285.7143 | 120 | 166666.6667 | 23809.5238 |  | 24 | 3.4286 |  | 2.01 | 0.08375 | 0.58625
constant current | 15 | 16 | 0.012 |  | 1900 | 271.4286 | 120 | 158333.3333 | 22619.0476 |  | 22.8 | 3.2571 |  | 2 | 0.087719 | 0.61404
variable pressure | 14 | 15 | 0.012 |  | 1810 | 258.5714 | 120 | 150833.3333 | 21547.619 |  | 21.72 | 3.1029 |  | 2.1 | 0.096685 | 0.6768
| 12 | 13 | 0.012 |  | 1780 | 254.2857 | 120 | 148333.3333 | 21190.4762 |  | 21.36 | 3.0514 |  | 2.2265 | 0.10424 | 0.72966
| 11 | 12 | 0.012 |  | 1700 | 242.8571 | 120 | 141666.6667 | 20238.0952 |  | 20.4 | 2.9143 |  | 2.29 | 0.11225 | 0.78578
| 10 | 11 | 0.012 |  | 1650 | 235.7143 | 120 | 137500 | 19642.8571 |  | 19.8 | 2.8286 |  | 2.312 | 0.11677 | 0.81737
| 9 | 10 | 0.012 |  | 1640 | 234.2857 | 120 | 136666.6667 | 19523.8095 |  | 19.68 | 2.8114 |  | 2.4 | 0.12195 | 0.85366
| 8 | 9 | 0.012 |  | 1500 | 214.2857 | 120 | 125000 | 17857.1429 |  | 18 | 2.5714 |  | 2.528 | 0.14044 | 0.98311
| 7 | 8 | 0.012 |  | 1490 | 212.8571 | 120 | 124166.6667 | 17738.0952 |  | 17.88 | 2.5543 |  | 2.58 | 0.1443 | 1.0101
| 6 | 7 | 0.012 |  | 1400 | 200 | 120 | 116666.6667 | 16666.6667 |  | 16.8 | 2.4 |  | 2.67 | 0.15893 | 1.1125
| 5 | 6 | 0.012 |  | 1300 | 185.7143 | 120 | 108333.3333 | 15476.1905 |  | 15.6 | 2.2286 |  | 2.81 | 0.18013 | 1.2609
| 4 | 5 | 0.012 |  | 1200 | 171.4286 | 120 | 100000 | 14285.7143 |  | 14.4 | 2.0571 |  | 2.918 | 0.20264 | 1.4185
| 3 | 4 | 0.012 |  | 1160 | 165.7143 | 120 | 96666.6667 | 13809.5238 |  | 13.92 | 1.9886 |  | 2.85 | 0.20474 | 1.4332
| 2 | 3 | 0.012 |  | 1050 | 150 | 120 | 87500 | 12500 |  | 12.6 | 1.8 |  | 2.61 | 0.20714 | 1.45
run3 | 1.6 | 2.6 | 0.012 |  | 1000 | 142.8571 | 120 | 83333.3333 | 11904.7619 |  | 12 | 1.7143 |  | 2.51 | 0.20917 | 1.4642
run #4 | 0.1 |  | 0.01 | 0.00021277 | 700 | 53.8462 | 100 | 70000 | 5384.6154 | 0.00018571 | 7 | 0.53846 |  | 0.723 | 0.10329 | 1.3427
air | 0.1 |  | 0.008 | 0.00017021 | 730 | 56.1538 | 80 | 91250 | 7019.2308 | 0.00014247 | 5.84 | 0.44923 |  | 0.553 | 0.094692 | 1.231
7.75 dia 130mm | 0.1 |  | 0.006 | 0.00012766 | 730 | 56.1538 | 60 | 121666.6667 | 9358.9744 | 0.00010685 | 4.38 | 0.33692 |  | 0.423 | 0.096575 | 1.2555
variable current | 0.1 |  | 0.005 | 0.00010638 | 740 | 56.9231 | 50 | 148000 | 11384.6154 | 8.7838e-05 | 3.7 | 0.28462 |  | 0.331 | 0.089459 | 1.163
fixed pressure | 0.1 |  | 0.004 | 8.5106e-05 | 800 | 61.5385 | 40 | 200000 | 15384.6154 | 6.5e-05 | 3.2 | 0.24615 |  | 0.283 | 0.088438 | 1.1497
| 0.1 |  | 0.003 | 6.383e-05 | 800 | 61.5385 | 30 | 266666.6667 | 20512.8205 | 4.875e-05 | 2.4 | 0.18462 |  | 0.222 | 0.0925 | 1.2025
end run #3 | 0.1 |  | 0.002 | 4.2553e-05 | 850 | 65.3846 | 20 | 425000 | 32692.3077 | 3.0588e-05 | 1.7 | 0.13077 |  | 0.186 | 0.10941 | 1.4224
run # 5 | 20 | 21 | 0.0056 |  | 3340 | 256.9231 | 56 | 596428.5714 | 45879.1209 | 2.1796e-05 | 18.704 | 1.4388 |  | 0.302 | 0.2099 | 0.2099 | 13.9008
variable pressure | 17.2 | 18.2 | 0.0056 |  | 3000 | 230.7692 | 56 | 535714.2857 | 41208.7912 | 2.4267e-05 | 16.8 | 1.2923 |  | 0.401 | 0.3103 | 0.3103 | 13.3095
7.75 by 130 mm | 15 | 16 | 0.0056 |  | 2800 | 215.3846 | 56 | 500000 | 38461.5385 | 2.6e-05 | 15.68 | 1.2062 |  | 0.47 | 0.38967 | 0.38967 | 12.4362
constant current | 14 | 15 | 0.0056 |  | 2700 | 207.6923 | 56 | 482142.8571 | 37087.9121 | 2.6963e-05 | 15.12 | 1.1631 |  | 0.49 | 0.4213 | 0.4213 | 12.037
| 12.2 | 13.2 | 0.0056 |  | 2500 | 192.3077 | 56 | 446428.5714 | 34340.6593 | 2.912e-05 | 14 | 1.0769 |  | 0.533 | 0.49493 | 0.49493 | 11.3286
| 10 | 11 | 0.0056 |  | 2300 | 176.9231 | 56 | 410714.2857 | 31593.4066 | 3.1652e-05 | 12.88 | 0.99077 |  | 0.713 | 0.71964 | 0.71964 | 10.0932
| 8 | 9 | 0.0056 |  | 2100 | 161.5385 | 56 | 375000 | 28846.1538 | 3.4667e-05 | 11.76 | 0.90462 |  | 0.887 | 0.98053 | 0.98053 | 8.8435
| 7 | 8 | 0.0056 |  | 2000 | 153.8462 | 56 | 357142.8571 | 27472.5275 | 3.64e-05 | 11.2 | 0.86154 |  | 0.86 | 0.99821 | 0.99821 | 8.125
| 4.5 | 5.5 | 0.0056 |  | 1600 | 123.0769 | 56 | 285714.2857 | 21978.022 | 4.55e-05 | 8.96 | 0.68923 |  | 1.247 | 1.8093 | 1.8093 | 6.529
| 3 | 4 | 0.0056 |  | 1400 | 107.6923 | 56 | 250000 | 19230.7692 | 5.2e-05 | 7.84 | 0.60308 |  | 1.222 | 2.0263 | 2.0263 | 4.9745
| 2 | 3 | 0.0056 |  | 1200 | 92.3077 | 56 | 214285.7143 | 16483.5165 | 6.0667e-05 | 6.72 | 0.51692 |  | 1.534 | 2.9676 | 2.9676 | 3.869
| 1 | 2 | 0.0056 |  | 1000 | 76.9231 | 56 | 178571.4286 | 13736.2637 | 7.28e-05 | 5.6 | 0.43077 |  | 1.501 | 3.4845 | 3.4845 | 2.3214
| 0.4 | 1.4 | 0.0056 |  | 800 | 61.5385 | 56 | 142857.1429 | 10989.011 | 9.1e-05 | 4.48 | 0.34462 |  | 1.14 | 3.308 | 3.308 | 1.1607
run#6 calibration check |  | volts across 100000 |  | volts of 10000shunt |  | current ma. |  | resistance ohms
10000k shunt resistor |  | 2080 |  | 100 |  | 0.01 |  | 208000
method to meas |  | 2000 |  | 94 |  | 0.0094 |  | 212765.9574
current |  | 1500 |  | 63 |  | 0.0063 |  | 238095.2381
found ac mtr of onAC |  | 1000 |  | 50 |  | 0.005 |  | 200000
scales low by factor 2 |  | 700 |  | 20 |  | 0.002 |  | 350000
used 100000k |  | 500 |  | 24 |  | 0.0024 |  | 208333.3333
as test load |  | 200 |  | 8 |  | 0.0008 |  | 250000
new meters run # 6 showwed som significant errors in meter system :ac volt meter wareading the voltage giving half the current half the current
run#7 |  | voltx*10 |  | ac milliamperes |  | varic |  | amperes |  | resistance ohms
2005-02-19 |  | 117 |  | 1.18 |  | 10 |  | 0.00118 |  | 99152.5424
recalibration of |  | 258.3 |  | 2.58 |  | 20 |  | 0.00258 |  | 100116.2791
meters digital |  | 399 |  | 3.93 |  | 30 |  | 0.00393 |  | 101526.7176
100000 wire wound |  | 528 |  | 5.09 |  | 40 |  | 0.00509 |  | 103732.8094
resistaor |  | 680 |  | 6.43 |  | 50 |  | 0.00643 |  | 105754.2768
10:1 probe arc |  | 843 |  | 7.81 |  | 60 |  | 0.00781 |  | 107938.5403
voltage divider |  | 1012 |  | 9.19 |  | 70 |  | 0.00919 |  | 110119.6953
11 meg total divider |  | 1167 |  | 10.4 |  | 80 |  | 0.0104 |  | 112211.5385
|  | 1349 |  | 11.8 |  | 90 |  | 0.0118 |  | 114322.0339
|  | 1523 |  | 13.2 |  | 100 |  | 0.0132 |  | 115378.7879
|  | 1723 |  | 14.58 |  | 110 |  | 0.01458 |  | 118175.583
|  | 1900 |  | 15.84 |  | 120 |  | 0.01584 |  | 119949.4949
|  | 2107 |  | 17.27 |  | 130 |  | 0.01727 |  | 122003.4742
|  | 2367 |  | 19.03 |  | 140 |  | 0.01903 |  | 124382.5539
run#8 | watts /cm. | corrected |  | current milliamps. | volts total | light mtr |  | current amps | "n"=pressure/watts | total watts | watts /cm. | total ohms | ohms/cm | 1/ohma/cm
2005-02-20 | 2.5836 | 12 |  | 10.24 | 3280 | 0.351 |  | 0.01024 | 4.6446 | 33.5872 | 2.5836 | 320312.5 | 24639.4231 | 4.0585e-05
7.75 dia 130mm | 2.5022 | 11 |  | 10.51 | 3095 | 0.381 |  | 0.01051 | 4.3962 | 32.5284 | 2.5022 | 294481.4462 | 22652.4189 | 4.4145e-05
long arc tube air | 2.1594 | 9 |  | 9.99 | 2810 | 0.425 |  | 0.00999 | 4.1679 | 28.0719 | 2.1594 | 281281.2813 | 21637.0216 | 4.6217e-05
| 2.0123 | 8 |  | 10 | 2616 | 0.452 |  | 0.01 | 3.9755 | 26.16 | 2.0123 | 261600 | 20123.0769 | 4.9694e-05
volts amperes light | 1.8744 | 7 |  | 10.09 | 2415 | 0.481 |  | 0.01009 | 3.7345 | 24.3673 | 1.8744 | 239345.887 | 18411.2221 | 5.4315e-05
versus pressure mm. | 1.7083 | 6 |  | 10.04 | 2212 | 0.531 |  | 0.01004 | 3.5122 | 22.2085 | 1.7083 | 220318.7251 | 16947.5942 | 5.9005e-05
| 1.5362 | 5 |  | 9.99 | 1999 | 0.575 |  | 0.00999 | 3.2549 | 19.97 | 1.5362 | 200100.1001 | 15392.3154 | 6.4967e-05
| 1.374 | 4 |  | 10.08 | 1772 | 0.637 |  | 0.01008 | 2.9112 | 17.8618 | 1.374 | 175793.6508 | 13522.5885 | 7.395e-05
| 1.1732 | 3 |  | 10.06 | 1516 | 0.725 |  | 0.01006 | 2.5572 | 15.251 | 1.1732 | 150695.825 | 11591.9865 | 8.6266e-05
| 0.97216 | 2 |  | 10.3 | 1227 | 0.914 |  | 0.0103 | 2.0573 | 12.6381 | 0.97216 | 119126.2136 | 9163.5549 | 0.00010913
| 0.67077 | 1 |  | 10 | 872 | 1.017 |  | 0.01 | 1.4908 | 8.72 | 0.67077 | 87200 | 6707.6923 | 0.00014908
| 0.51154 | 0.4 |  | 10 | 665 | 0.94 |  | 0.01 | 0.78195 | 6.65 | 0.51154 | 66500 | 5115.3846 | 0.00019549
| 0.47462 | 0.2 |  | 10 | 617 | 0.82 |  | 0.01 | 0.42139 | 6.17 | 0.47462 | 61700 | 4746.1538 | 0.0002107
| 0.47348 | 0.1 |  | 9.96 | 618 | 0.7 |  | 0.00996 | 0.2112 | 6.1553 | 0.47348 | 62048.1928 | 4772.9379 | 0.00020951
run#9 | watts/cm | pressure mm. |  | milliamperes | arc volts | light |  | volts/cm | amperes | "n"=pressure/watts |  | resistance/cm | 1/ohms
| 0.95626 | 5 |  | 5.12 | 2428 | 0.351 |  | 186.7692 | 0.00512 | 5.2287 |  | 36478.3654 | 2.7414e-05
7/75;1300 air | 1.0708 |  |  | 6 | 2320 | 0.402 |  | 178.4615 | 0.006 | 4.6695 |  | 29743.5897 | 3.3621e-05
2005-02-20 | 1.2215 |  |  | 7.07 | 2246 | 0.471 |  | 172.7692 | 0.00707 | 4.0934 |  | 24436.9492 | 4.0922e-05
| 1.3568 |  |  | 8.08 | 2183 | 0.534 |  | 167.9231 | 0.00808 | 3.6851 |  | 20782.559 | 4.8117e-05
| 1.4816 | 5 |  | 9.03 | 2133 | 0.585 |  | 164.0769 | 0.00903 | 3.3747 |  | 18170.2019 | 5.5035e-05
| 1.6095 |  |  | 10.04 | 2084 | 0.655 |  | 160.3077 | 0.01004 | 3.1066 |  | 15966.9016 | 6.263e-05
| 1.7466 |  |  | 11.13 | 2040 | 0.712 |  | 156.9231 | 0.01113 | 2.8628 |  | 14099.1084 | 7.0926e-05
| 1.8548 |  |  | 12.02 | 2006 | 0.767 |  | 154.3077 | 0.01202 | 2.6957 |  | 12837.5784 | 7.7896e-05
| 1.9902 |  |  | 13.14 | 1969 | 0.832 |  | 151.4615 | 0.01314 | 2.5123 |  | 11526.7533 | 8.6755e-05
| 2.1244 | 5.1 |  | 14.28 | 1934 | 0.9 |  | 148.7692 | 0.01428 | 2.3536 |  | 10418.0134 | 9.5988e-05
| 2.2793 |  |  | 15.62 | 1897 | 0.973 |  | 145.9231 | 0.01562 | 2.1936 |  | 9342.0664 | 0.00010704
| 2.4757 |  |  | 17.35 | 1855 | 1.068 |  | 142.6923 | 0.01735 | 2.0196 |  | 8224.3405 | 0.00012159
| 2.6376 |  |  | 18.84 | 1820 | 1.145 |  | 140 | 0.01884 | 1.8957 |  | 7430.9979 | 0.00013457
| 2.7926 | 5.2 |  | 20.27 | 1791 | 1.223 |  | 137.7692 | 0.02027 | 1.7905 |  | 6796.706 | 0.00014713
run #10 |  | real pres mm |  | milliampers | arc volts | light |  | volts/cm | amperes | watts |  | resistance/cm
|  | 5 |  | 10 | 1748 | 1.42 |  | 249.7143 | 0.01 | 2.4971 |  | 24971.4286
1;70 |  | 5 |  | 7 | 1874 | 0.933 |  | 267.7143 | 0.007 | 1.874 |  | 38244.898
constant presssure |  | 5 |  | 7.97 | 1800 | 1.05 |  | 257.1429 | 0.00797 | 2.0494 |  | 32263.8466
air |  | 5 |  | 8.95 | 1762 | 1.19 |  | 251.7143 | 0.00895 | 2.2528 |  | 28124.5012
2005-02-21 |  | 5 |  | 10.06 | 1711 | 1.358 |  | 244.4286 | 0.01006 | 2.459 |  | 24297.0747
|  | 5 |  | 12.1 | 1638 | 1.645 |  | 234 | 0.0121 | 2.8314 |  | 19338.843
|  | 5 |  | 13.99 | 1580 | 1.921 |  | 225.7143 | 0.01399 | 3.1577 |  | 16133.9732
|  | 5 |  | 16 | 1520 | 2.2 |  | 217.1429 | 0.016 | 3.4743 |  | 13571.4286
|  | 5 |  | 18.24 | 1488 | 2.45 |  | 212.5714 | 0.01824 | 3.8773 |  | 11654.1353
|  | 5 |  | 20.62 | 1449 | 2.773 |  | 207 | 0.02062 | 4.2683 |  | 10038.7973